## Table 1
Domain Electricity
| code | service | 1
| E-2 | Reporting information regarding local electricity generation | Service group: Feedback - Reporting information
| Functionality levels |  | IMPACTS
|  |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | Current generation data available | 1 | 0 | 0 | 0 | 0 | 1 | 1
| level 2 | Actual values and historical data | 1 | 0 | 0 | 0 | 0 | 1 | 2
| level 3 | Performance evaluation including forecasting and/or benchmarking | 1 | 0 | 0 | 0 | 0 | 1 | 3
| level 4 | Performance evaluation including forecasting and/or benchmarking; also including predictive management and fault detection | 1 | 0 | 0 | 1 | 0 | 2 | 3
| Information sources |  | IEC 61850-7-420 | IEC 61850-7-420
Standard?
| code | service | 1
| E-3 | Storage of (locally generated) electricity | Service group: DER - Storage
| Functionality levels |  | IMPACTS
|  |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | On site storage of electricity (e.g. electric battery) | 0 | 1 | 0 | 2 | 0 | 0 | 0
| level 2 | On site storage of energy (e.g. electric battery or thermal storage) with controller based on grid signals | 0 | 2 | 0 | 2 | 0 | 0 | 0
| level 3 | On site storage of energy (e.g. electric battery or thermal storage) with controller optimising the use of locally generated electricity | 0 | 2 | 0 | 2 | 0 | 0 | 0
| level 4 | On site storage of energy (e.g. electric battery or thermal storage) with controller optimising the use of locally generated electricity and possibility to feed back into the grid | 0 | 3 | 0 | 2 | 0 | 0 | 0
Information sources
Standard?
| code | service | 0
| E-4 | Optimizing self-consumption of locally generated electricity | Service group: DER- Optimization
IMPACTS
| Functionality levels |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | Scheduling electricity consumption (plug loads, white goods, etc.) | 0 | 1 | 0 | 1 | 0 | 0 | 0
| level 2 | Automated management of local electricity consumption based on current renewable energy availability | 0 | 2 | 0 | 2 | 0 | 0 | 0
| level 3 | Automated management of local electricity consumption based on current and predicted energy needs and renewable energy availability | 0 | 3 | 0 | 2 | 0 | 0 | 0
| level 4 | 0
Information sources Standard?
| code | service | 0
| E-5 | Control of combined heat and power plant (CHP) | Service group: DER - Generation Control
IMPACTS
| Functionality levels |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | CHP control based on scheduled runtime management and/or current heat energy demand | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | CHP runtime control influenced by the fluctuating availability of RES; overproduction will be fed into the grid | 1 | 1 | 0 | 1 | 0 | 0 | 0
| level 2 | CHP runtime control influenced by the fluctuating availability of RES and grid signals; dynamic charging and runtime control to optimise self- consumption of renewables | 2 | 2 | 0 | 1 | 0 | 0 | 0
| level 3 | 0 | - | - | - | - | - | - | -
| level 4 | 0
Information sources Standard?
| code | service | 0
| E-8 | Support of (micro)grid operation modes | Service group: DSM- Storage
| Functionality levels |  | IMPACTS
|  |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | Automated management of (building-level) electricity consumption based on grid signals | 0 | 2 | 0 | 2 | 0 | 0 | 0
| level 2 | Automated management of (building-level) electricity consumption and electricity supply to neighbouring buildings (microgrid) or grid | 0 | 2 | 0 | 2 | 0 | 0 | 0
| level 3 | Automated management of (building-level) electricity consumption and supply, with potential to continue limited off-grid operation (island mode) | 0 | 3 | 0 | 3 | 0 | 0 | 0
| level 4 | 0
Information sources Standard?
|  |  | IEC TC 57 | IEC TC 57 |  |  |  | IEC TC 57 | IEC TC 57
| code | service | 1
| E-11 | Reporting information regarding energy storage | Service group: Feedback - Reporting information
| Functionality levels |  | IMPACTS
|  |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | Current state of charge (SOC) data available | 1 | 0 | 0 | 0 | 0 | 1 | 1
| level 2 | Actual values and historical data | 1 | 0 | 0 | 0 | 0 | 1 | 2
| level 3 | Performance evaluation including forecasting and/or benchmarking | 1 | 0 | 0 | 0 | 0 | 1 | 3
| level 4 | Performance evaluation including forecasting and/or benchmarking; also including predictive management and fault detection | 1 | 0 | 0 | 1 | 0 | 2 | 3
Information sources Standard?
| code | service | 1
| E-12 | Reporting information regarding electricity consumption | Service group: Feedback - Reporting information
| Functionality levels |  | IMPACTS
|  |  | Energy efficiency | Energy flexibility and storage | Comfort | Convenience | Health, well-being and accessibility | Maintenance and fault prediction | Information to occupants
| level 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0
| level 1 | reporting on current electricity consumption on building level | 0 | 0 | 0 | 0 | 0 | 0 | 1
| level 2 | real-time feedback or benchmarking on building level | 1 | 0 | 0 | 0 | 0 | 0 | 2
| level 3 | real-time feedback or benchmarking on appliance level | 2 | 0 | 0 | 0 | 0 | 1 | 3
| level 4 | real-time feedback or benchmarking on appliance level with automated personalized recommendations | 3 | 0 | 0 | 1 | 0 | 2 | 3
Information sources
Standard?